## RawData
DateTime

## RawFeeder
DateTime

## Energy Online (kWhConsumption)
Report Energy Consumption (kWh) |  |  |  | SCG-LP
kWh ย้อนหลัง : start |  |  | End
Sub. | Code | Name | MV/LV | Location | kWh. Consumption
Main sub. | 1B1A1.04 | INCOMMING 115 KV | MV | Incomming LP | 0
| 1B1A6 | 1T1A1 | MV | 1T1A1 | 0
| 1B1A19 | 1T1A2 | MV | 1T1A2 | 0
| 1B1A2 | SPARE | MV | สำนักงาน WS | 0
| 1B1A10 | Mortar Plant | MV | MORTAR | 0
| 1B1A15 | Total Water treatment MV | MV | Main station | 0
| 1B1A23 | PACKER | MV | PACKER | 0
| 1B1A24 | เรือนรองรับรอง | MV | เรือนรับรอง | 0
| 1B1A3 | Auxiillaries | MV | SS-1 | 0
| 1B1A4 | SS.5 Rawmill | MV | SS-5 | 0
| 1B1A5 | SS.6 Kiln | MV | SS-6 | 0
| 1B1A6 | Incoming TR_1 | MV | INCOMMING | 0
| 1B1A7 | SS.7 Lignite mill | MV | SS-7 | 0
| 1B1A8 | SS 7.1 Lignite Storge | MV | SS-7.1 | 0
| 1B1A9 | SS.8 Clinker cooler | MV | SS-8 | 0
| 1B1A16 | SS.2 Limestone Crusher | MV | SS-2 | 0
| 1B1A17 | SS.3 Limestone storage | MV | SS-3 | 0
| 1B1A18 | SS.4 Reblending | MV | SS-4 | 0
| 1B1A19 | Incoming TR_2 | MV | INCOMMING | 0
| 1B1A20 | SS 9.1 Cement mill 1 | MV | SS-9.1 | 0
| 1B1A21 | SS 9.2 Cement mill 2 | MV | SS-9.2 | 0
| 1B1A22 | SS 9.3 Cement mill 3 | MV | SS-9.3 | 0
Sub.1.1 | 1C1A1.01 | Main station | LV | Incoming LVD | 0
| 1C1A1.03 | Dissel gen | LV | เมนไฟอาคาร DIESEL GEN | 0
| 1C1K1.02 | Water treament process | LV | Total Water treatment LV | 0
| 1C1K1.07 | Water treament | LV | Water treatment | 0
| 1C1K1.04.3 | Welding 1 | LV | WELDING 1 | 0
| 1C1K1.04.4 | Water supply | LV | ระบบน้ำประปา | 0
Sub.2 | 1B2B1 | Crusher Limestone | MV | Lime. Crusher | 0
| 1B2B3 | TR 1T2B1 | MV | Total Aux Lime Crusher MV | 0
| 1B2B4 | Feeder TR Mortar |  |  | 0
| 1C2B1.09 | Crusher Limestone | LV | Aux Lime Crusher | 0
| 1C2B1.02 | Crusher Limestone process | LV | Total Aux Lime Crusher LV | 0
Sub.3 | 1B1B1 | Stacker Limestone | MV | Lime. Stacker | 0
| 1B1B2 | Reclaimer Limestone | MV | Lime.Reclaimer | 0
| 1B1B4 | Transformer +1T1B1 | MV | Lime Storage MV | 0
| 1C1B1.02 | Incoming LVD | LV | Lime Storage LV | 0
| 1C1B1.05 | Group Belt ทำกองหิน | LV | Lime. Transport | 0
| 1C1B1.07 | Limestone Belt Transport อ่างดิน | LV | Mixed Mat. Transport | 0
| MDB_01 | สำนักงานเหมือง | LV | สำนักงานเหมือง | 0
| MDB_02 | Ofiice ผู้รับเหมา | LV | Ofiice ผู้รับเหมา | 0
Sub 4 | _F212_36_Q | Feeder Mixed Mat. |  |  | 0
Sub. 4 | 1B3B1 | Incomer MV | MV | Solar Roof | 0
| 1B3B2 | Transformer +1T1B1 | MV | Transformer +1T1B1 | 0
| 1B3B3 | Transformer to Solar cell | MV | Transformer to Solar cell | 0
| 1C3B1_3 | Incoming LVD | LV | Mixed Mat. Storage LV | 0
| 1C3B1_4 | Outgoing to MCC 4.3 | LV | G. Mixed Mat. Transport | 0
| 1C3B1_7 | Stacker Mix | LV | Mixed Mat. Stacker & Clay crusher | 0
| 1C3B1_10 | Reclaimer Mix | LV | Mixed Mat. Reclaimer | 0
| 1C3B1_6 | Slurry Pump | LV | อาคาร SLURRY PUMP | 0
Sub. 4.3 | 1D3B11.4 | Clay Crusher | LV | Mixed Mat. Transport | 0
Sub 5 | _F222_03FS_Q | Feeder Limestone |  |  | 0
| _F222_04FS_Q | Feed Sand |  |  | 0
| _F222_05FS_Q | Feeder Laterite |  |  | 0
Sub.5 | 1B1D1 | Bag filter Rm | MV | BF RM Fan | 0
| 1B1D2 | Main Drive Rm | MV | RM Drive | 0
| 1B1D3 | Transformer +1T1D2 | MV | Aux RM MV | 0
| 1B1D5 | Transformer +1T1D3 CL Bypass | MV | Total BF RM MV | 0
| 1B1D6 | Transformer +1T1D4 | MV | RM Sep | 0
| 1B1D7 | Mill Fan Rm | MV | RM Fan | 0
| 1B1D8 | Main Welding Preheater FL.8 | MV | Main Welding Preheater FL.8 | 0
| 1B1D9 | Spare / Air comp | MV | Shredder3 | 0
| 1C1D1_09F | Raw mill Grinding 2 | LV | Raw mill Grinding 2 | 0
| 1C1D1_4 | Coupler to Chloride bypass | LV | Coupler to Chloride bypass | 0
| 1C1D2_06F | Incomer LVD | LV | Incomer LVD | 0
| 1C1D2_03 | Fan Bag filter Chloride bypass | LV | Fan Bag filter Chloride bypass | 0
Sub.6 | 1B2E1 | IDF 1 | MV | SP Fan1 | 0
| 1B2E2 | IDF 2 | MV | SP Fan2 | 0
| 1B2E3 | KILN MAIN DRIVE | MV | Kiln Drive | 0
| 1B2E5 | TR 1T2E4 | MV | Homo & Kiln Feed MV | 0
| 1B2E6 | TR 1T2E5 (COMPRESSOR) | MV | Homo & Clinker Burner MV | 0
| 1B2E7 | Transformer +1T2E6 Air Comp. | MV | Transformer +1T2E6 Air Comp. | 0
| 1C2E1_01F | Incomer LVD +1T1E4 | LV | Homo & Clinker Burner LV | 0
| 1C2E1_04F | Bus Coupler | LV | Bus Coupler | 0
| 1C2E1_06F_28 | Root Blower 791_28 | LV | Root Blower 791_28 | 0
| 1C2E1_06F_29 | Root Blower 791_29 | LV | Root Blower 791_29 | 0
| 1C2E1_07F_1 | Spare 1 | LV | Spare 1 | 0
| 1C2E1_07F_2 | Spare 2 | LV | Spare 2 | 0
| 1C2E1_08F | Feeder to MCC GAS 1 | LV | Feeder to MCC GAS 1 | 0
| 1C2E1_09F | Feeder to SP Boiler | LV | Feeder to SP Boiler | 0
| 1C2E1_04R | Homogenizing & Kiln Feed | LV | Homogenizing & Kiln Feed | 0
| 1C2E2_01F | Incomer LVD +1T1E5 | LV | Incomer LVD +1T1E5 | 0
| 1C2E2_03F | Outgoing to 1D2E21 MCC Air comp | LV | Outgoing to 1D2E21 MCC Air comp | 0
| 1C2E2_04F | Outgoing to 1D2E22 MCC Thermal Oil | LV | Outgoing to 1D2E22 MCC Thermal Oil | 0
| 1C2E2_08F | Auxiliary Kiln | LV | Auxiliary Kiln | 0
| 1C2E2_08R | Oil Lignite Firing System | LV | Oil Lignite Firing System | 0
Sub.6.1 | 1D2E21.01 | Incoming LVD | LV | Compressor | 0
Sub.6.2 | 1D2E22.04 | Incoming LVD | LV | Oil Storage | 0
Biomass | 1C1AF_01 | Incomer LVD | LV | Incomer LVD | 0
| 1C1AF_03 | Yoida 1 | LV | Yoida 1 | 0
| 1C1AF_04 | Yoida 2 | LV | Yoida 2 | 0
| FeederM_C1 | AF Machine | LV | AF Machine | 0
| 1C1AF_03_1 | Yoida 3 | LV | Yoida 3 | 0
| 1C1AF_02 | MCC AF Prheater FL.4 | LV | MCC AF Prheater FL.4 | 0
Sub.7 | 1B1C1 | Mill Drive LM | MV | Lignite Mill | 0
| 1B1C2 | Main Fan LM | MV | Lignite Mill Fan | 0
| 1B1C4 | TR 1T1C1 | MV | Lignite handling MV | 0
| 1B1C5 | Outgoing to Sub GAS 2 | MV | Outgoing to Sub GAS 2 | 0
| 1C1C1_N08 | Incomer LVD | LV | Incomer LVD | 0
| 1C1C1_N07 | Lignite Grinding | LV | Lignite Grinding | 0
| 1C1C1_N05_1 | Welding 1 | LV | Welding 1 | 0
| 1C1C1_N05_2 | Welding 2 | LV | Welding 2 | 0
Sub.7.1 | 1B2C2 | TR 1T2C1 | MV | Lignite storage MV | 0
| 1B2C3 | CRUSHER GAS | MV | Crusher Gasifier MV | 0
| 1C2C1_02 | IncomerLVD | LV | IncomerLVD | 0
| 1C2C1_04_1 | Welding | LV | Welding | 0
| 1C2C1_04_2 | Main Gassifier Crusher-1 | LV | Main Gassifier Crusher-1 | 0
| 1C2C1_05 | Lignite Transport | LV | Lignite Transport | 0
| 1C2C1_CR_GAS | Main Gassifier Crusher-1 | LV | Main Gassifier Crusher-1 | 0
Sub.8 | 1B1F1 | Transformer +1T1F1 Waste gas fan | MV | Waste gas Fan | 0
| 1B1F2 | Transformer +1T1F2 | MV | Total Clinker Cooler G.Fan MV | 0
| 1B1F4 | Transformer +1T1F3 | MV | Total Clinker Cooler G.Transport MV | 0
| 1B1F5 | Transformer +1T1F4 | MV | Total Clinker Cooler G.EP MV | 0
| 1B1F6 | 355_35 (1A) | MV | Cooler Fan 1A MV | 0
| 1B1F7 | 355_35 (4A) | MV | Cooler Fan 4A MV | 0
| 1C1F1_02F | Welding | LV | Welding | 0
| 1C1F1_03F | Main for CCR | LV | Main for CCR | 0
| 1C1F1_05F | COUPLER TO LVD +1C1F2 | LV | COUPLER TO LVD +1C1F2 | 0
| 1C1F1_07F | Incomer +1C1F1 | LV | Incomer +1C1F1 | 0
| 1C1F1_05R | Cooler fan | LV | Cooler fan | 0
| 1C1F2_06F | COUPLER TO LVD +1C1F3 | LV | COUPLER TO LVD +1C1F3 | 0
| 1C1F2_07F | Incomer +1C1F2 | LV | Incomer +1C1F2 | 0
| 1C1F3_03 | Incomer +1C1F3 | LV | Incomer +1C1F3 | 0
| 1C1F3_04 | EP Cooler | LV | EP Cooler | 0
| 1C1F3_10 | Clinker Cooler and Transport | LV | Clinker Cooler and Transport | 0
Sub 9.1 | _F522_01FS_Q | Feeder Clinker |  |  | 0
| _F522_03FS_Q | Feeder Limestone |  |  | 0
| _F522_02FS_Q | Feeder Gypsum |  |  | 0
Sub 9.1 | 1B1G1 | Mill Drive | MV | Mill CM1 | 0
| 1B1G2 | TR 1T1G1 | MV | Sep CM1 | 0
| 1B1G4 | SEP FAN | MV | Sep Fan CM1 | 0
| 1B1G5 | CRUSHER GYPSUM | MV | Gypsum Crusher | 0
| 1B1G6 | TR 1T1G2 | MV | Total Aux CM1 MV | 0
| 1B1G7 | ROLLER PRESS M1 Move L03 | MV | Roller press move | 0
| 1B1G8 | ROLLER PRESS M2 Fix L02 | MV | Roller press fix | 0
| 1B1G9 | ROLLER PRESS Transformer L01 | MV | Auxiliary roller press | 0
| 1C1G1.N01 | Roller press Pregrinding panel | LV | Roller press Pregrinding panel | 0
| 1C1G1.03 | Incomer LVD | LV | Incomer LVD | 0
| 1C1G1.06 | Clinker Transport | LV | Clinker Transport | 0
| 1C1G1.09 | Transport sec. Limestone | LV | Transport sec. Limestone | 0
| 1C1G1.11 | GYPSUM อ่างเก่า | LV | GYPSUM อ่างเก่า | 0
| 1C1G1.18 | Cement mill 1 | LV | Cement mill 1 | 0
Sub 9.2 | _F532_01FS_Q | Feeder Clinker |  |  | 0
| _F532_03FS_Q | Feeder Limestone |  |  | 0
| _F532_02FS_Q | Feeder Gypsum |  |  | 0
Sub 9.2 | 1B2G1 | Transformer +1T2G1 | MV | Transformer +1T2G1 | 0
| 1B2G2 | Mill Drive | MV | Mill Drive | 0
| 1B2G3 | Incomer 9.2 | MV | Incomer 9.2 | 0
| 1B2G4 | Transformer +1T2G2 | MV | Transformer +1T2G2 | 0
| 1B2G5 | Sep Fan 2 | MV | Sep Fan 2 | 0
| 1C2G1.03 | Incomer LVD | LV | Incomer LVD | 0
| 1C2G1.04 | Outgoing to 1D2G11 | LV | Outgoing to 1D2G11 | 0
| 1C2G1.07 | Welding SS9.2 | LV | Welding SS9.2 | 0
| 1C2G1.14 | Cement mill 2 no.14 | LV | Cement mill 2 no.14 | 0
Sub 9.3 | _F542_01FS_Q | Feeder Clinker |  |  | 0
| _F542_03FS_Q | Feeder Limestone |  |  | 0
| _F542_02FS_Q | Feeder Gypsum |  |  | 0
Sub 9.3 | 1B3G1 | Transformer +1T3G1 | MV | Transformer +1T3G1 | 0
| 1B3G2 | Mill Drive | MV | Mill Drive | 0
| 1B3G3 | Incomer 9.3 | MV | Incomer 9.3 | 0
| 1B3G4 | Sep Fan 3 | MV | Sep Fan 3 | 0
| 1B3G5 | Transformer +1T3G2 | MV | Transformer +1T3G2 | 0
| 1B3G6 | Spare Switchgear | MV | Spare Switchgear | 0
| 1C3G1.03 | Incomer LVD | LV | Incomer LVD | 0
| 1C3G1.071 | Welding 2 SS9.3 | LV | Welding 2 SS9.3 | 0
| 1C3G1.072 | Spare | LV | Spare | 0
| 1C3G1.12 | Cement mill 3 | LV | Cement mill 3 | 0
Sub.10 | 1B1J1 | Incoming MV | MV | Incoming MV | 0
| 1B1J2 | Transformer +1T1J1 | MV | Transformer +1T1J1 | 0
| 1B1J3 | Transformer +1T1J2 Palletizer phase2 | MV | Transformer +1T1J2 Palletizer phase2 | 0
| 1C1J1.03 | Incomer LVD | LV | Incomer LVD | 0
| 1C1J1.N01 | Incomer LVD Packer 6 | LV | Incomer LVD Packer 6 | 0
| 1C1J1.16 | Cement silo transport | LV | Cement silo transport | 0
| 1C1J1.15 | Palletizer 1 | LV | Palletizer 1 | 0
| 1C1J1.12 | MDB Utility packer | LV | MDB Utility packer | 0
| 1C1J1_06 | Air Comp Packer | LV | Air Comp Packer | 0
Office | OFFICE MDB01 | work shop | LV | work shop | 0
| OFFICE MDB02(Solar) | สำนักงานใหญ่ | LV | สำนักงานใหญ่ | 0
| WS_MDB_3 | โรงกลึง | LV | โรงกลึง | 0
| WS_MDB_4 | โรง fab | LV | โรง fab | 0
| WS_MDB_5 | สำนักงาน 2 | LV | สำนักงาน 2 | 0
| WS_MDB_6 | สำนักงาน 3 | LV | สำนักงาน 3 | 0
| WS_MDB_7 | Solar Cell | LV | Solar Cell | 0